## Slide 1: PHENIX EmCal PbSc in SeaQuest, FNAL
A. Durum for IHEP group, June 08,2018

## Slide 4: EmCal PbSc others structure
Inside sectors
  Alarm system – door ajar, heat, water, smoke detectors
  HV current monitoring system
  LV, HV, Signals cables, Arcnet cables to load FPGA
  PMTs
  PMT’s bases – one base for four PMT FEU115M
  FEMs with trigger cards and triggers cables
  Cooling system – fans
  Onboard pin diodes for online monitoring system
Outside sectors
  LV and HV power supply
  REF FEM for online monitoring system

## Slide 5: PID

## Slide 6: EmCal PbSc Performance Uncalibrated Tower Summary from Run16
Sector | Total | Not a Hot/ Dead Tower | Hot/Dead Towers | Next to a Hot/Dead Tower
W0 | 1 | 1 | 0 | 0
W1 | 2 | 2 | 0 | 0
W2 | 8 | 7 | 1 | 0
W3 | 14 | 1 | 10 | 3
E2 | 8 | 8 | 0 | 0
E3 | 4 | 2 | 2 | 0

## Slide 7: EmCal PbSc Performance Laser Monitoring Data from Run16

## Slide 8: EmCal PbSc Uncalibrated Tower Summary

## Slide 9: Questions
Which sectors delivered to FNAL?
Current or new electronics?
PMTs or new readout sensors?
Monitoring system – current or new?
How IHEP group can help to run EmCal PbSc:
  We look forward to future cooperation, but…
  Due to restriction access on DOE Lab - remotely work?
  RMES funds are frozen for US in current situation.
  ???