## Slide 1: Revised connector order on ROC
2 1 0
(wedge #)
Order from large radius to small radius (Added by Phil on 07/19/2010)
Wedge 0 J1 (P400) J2 (P401) J1 (P300) J2 (P301) J1 (P200) J2 (P201) J1 (P100) J2 (P101)
ROC Board Faces Downstream
.
.
.
.
J1 P400
J2 P401
J1 P300
J2 P201
Wedge pin 1 signals land here
J2 P301
J1 P200
J1 P100
J2 P101
.
.
.
.
.
.
.
.
.
.
.
.
.
.
J1
J2
J1
J2
J1
J1
J2
J2
Station 3
Station 2
Station 1
Station 0
.
.
.
.
.
.
.
.
.
.
.
.
.
.
Wedge 1 J1 (P410) J2 (P411) J1 (P310) J2 (P311) J1 (P210) J2 (P211) J1 (P110) J2 (P111)
Wedge 2 J1 (P420) J2 (P421) J1 (P320) J2 (P321) J1 (P220) J2 (P221) J1 (P120) J2 (P121)
Wedge 3 J1 (P430) J2 (P431) J1 (P330) J2 (P331) J1 (P230) J2 (P231) J1 (P130) J2 (P131)
Connector pair order is always J1 above J2! Wedge 0 faces downstream as does ROC

## Slide 2: Numbering convention
From what I see on Hubert's test stand
3303 --> Wedge 3
3304 --> Wedge 2
3301 --> Wedge 1
3302 --> Wedge 0

## Slide 3: Wedge 0 Final Layout
Mating position for cable 3302
Calibration line goes to the inside radius

## Slide 4: Wedge 1 Final Layout
Mating position for cable 3301
Calibration line goes to the outside radius